Water Hygiene Log Book

Monthly Temperature Monitoring Record

Client:                                              Site:                                                    Area:					Test year:

- All temperatures are recorded in degrees centigrade

- All cold temps recorded after 2mins running time / All hot temps recorded after 1min running time

- Action is required if cold temp is above 20oc

- Action is required if hot temp is below 50oc unless TMV is fitted

- Action is required if hot storage is below 60oc

- Action is required if hot flow from storage is below 50oc

- Action is required if hot return from system is below 50oc

| AREA | TEST DESCRIPTION | JAN | FEB | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPT | OCT | NOV | DEC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |